## Slide 1: Flexibility: Boom in progress
Malte Schwoon, Statkraft

## Slide 2: Malte 1998

## Slide 3
Source: www.reuters.com
Source: https://www.iwkoeln.de/brexit.html
Source: https://www.cbc.ca/news/

## Slide 4
Good
NEWS
FROM
THE
ISLAND

## Slide 5: Successful coal phase out
Ratcliffe-on-Soar Power Station

## Slide 6: Successful coal phase out
Source: DUKES Digest of UK Energy Statistics, www.gov.uk
Chart: Conventional Flex - Installed Capacity in MW
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Coal + Oil | 34039.6314 | 30730.9087 | 24211.1196 | 21140.9212 | 20073.5372 | 15755.3742 | 15509.5894 | 12878.1564 | 9294.4238 | 7194.6763 | 7266.2077 | 6157.9617
CCGT gas | 33062.002 | 34854.972 | 34736.6 | 33495.061 | 33298.082 | 33152.66 | 33096.5121 | 31725.4659 | 31705.5623 | 31967.2022 | 31951.4627 | 31784.0657
OCGT | 2009.6115 | 2136.9904 | 2127.1021 | 2301.4511 | 2227.4137 | 2868.3069 | 2948.616 | 3040.9833 | 3125.8963 | 3294.6143 | 3310.2156 | 4145.9111
Bioenergy | 3280.912 | 3200.042 | 3785.6915 | 4152.1022 | 4759.3426 | 5176.3583 | 5442.1021 | 6972.2816 | 7136.8827 | 7268.8055 | 7361.0787 | 7459.6191
Nuclear | 10120 | 9413 | 9413 | 9413 | 8923 | 8923 | 8923 | 8923 | 8923 | 7833 | 7833 | 5883
Pumped Storage | 2900 | 2900 | 2900 | 2900 | 2900 | 2900 | 2900 | 2900 | 2900 | 2900 | 2900 | 2900
Notes: Ratcliffe-on-Soar power station

## Slide 7: What’s the starting point?
= 3x
~10 GW of interconnection
~10 GW of interconnection

## Slide 8: Share of renewable generation
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Other (Hydro, Waste, Biomass, etc.) | 0.0415 | 0.0516 | 0.0552 | 0.0637 | 0.0843 | 0.105 | 0.1045 | 0.1118 | 0.1211 | 0.1326 | 0.1471 | 0.1468 | 0.1264
Onshore Wind | 0.0189 | 0.0294 | 0.0336 | 0.0472 | 0.0549 | 0.0674 | 0.0612 | 0.0849 | 0.0911 | 0.0974 | 0.1103 | 0.0944 | 0.1077
Offshort Wind | 0.008 | 0.014 | 0.0209 | 0.032 | 0.0396 | 0.0514 | 0.0484 | 0.0618 | 0.0795 | 0.0978 | 0.1293 | 0.115 | 0.1376
Solar PV | 0.0001 | 0.0007 | 0.0037 | 0.0056 | 0.012 | 0.0222 | 0.0306 | 0.0339 | 0.038 | 0.038 | 0.0398 | 0.0391 | 0.0406
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Other (Hydro, Waste, Biomass, etc.) | 0.0537 | 0.0532 | 0.0556 | 0.0456 | 0.0383 | 0.0373 | 0.0365 | 0.0336 | 0.033 | 0.0426 | 0.0674 | 0.0824 | 0.0758
Offshort Wind | 0.0058 | 0.0067 | 0.0068 | 0.0067 | 0.0066 | 0.0099 | 0.0196 | 0.0316 | 0.0306 | 0.0301 | 0.0468 | 0.067 | 0.0705
Onshore Wind | 0.0281 | 0.0362 | 0.036 | 0.0419 | 0.0445 | 0.0562 | 0.0509 | 0.0587 | 0.0583 | 0.0668 | 0.0836 | 0.0847 | 0.1198
Solar PV | 0.0005 | 0.0009 | 0.0016 | 0.0035 | 0.0064 | 0.0097 | 0.0138 | 0.0189 | 0.0313 | 0.0455 | 0.0731 | 0.0969 | 0.1481
Sources: DUKES Digest of UK Energy Statistics, www.gov.uk; https://opendata.cbs.nl/statline/#/CBS/en/

## Slide 9: Installed renewable capacity
Chart: MW
| 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Other (Hydro, Waste, Biomass, etc.) | 3555 | 3740 | 4786 | 4867 | 5742 | 6319 | 7058.81 | 7610.79 | 7947.54 | 9463.84 | 9739.56 | 9884.2 | 9992.5 | 10091.1
Onshore Wind | 3471 | 4080 | 4758 | 6035 | 7586 | 8573 | 9212.24 | 10832.53 | 12597.15 | 13424.85 | 13998.33 | 14075.07 | 14492.42 | 14831.78
Offshort Wind | 951 | 1341 | 1838 | 2995 | 3696 | 4501 | 5093.5 | 5293.4 | 6987.85 | 8180.5 | 9888.3 | 10373.33 | 11255.48 | 13927.68
Solar PV | 27 | 95 | 1000 | 1754 | 2937 | 5528 | 9601.22 | 11914.02 | 12760.02 | 13059.07 | 13344.84 | 13552.7 | 13914.35 | 14647.71
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Other (Hydro, Waste, Biomass, etc. - own estimate) | 1055.1667 | 1053.8333 | 1077.5 | 879.5 | 724.1667 | 709.6667 | 705.1667 | 654.3333 | 652 | 843.3333 | 1316.5 | 1629.5 | 1435.8333
Offshort Wind | 228 | 228 | 228 | 228 | 228 | 357 | 957 | 957 | 957 | 957 | 2460 | 2460 | 2570
Onshore Wind | 2009 | 2088 | 2205 | 2485 | 2637 | 3034 | 3300 | 3245 | 3436 | 3527 | 4188 | 5310 | 6261
Solar PV | 90 | 149 | 287 | 650 | 1007 | 1526 | 2135 | 2911 | 4608 | 7226 | 11108 | 14911 | 19143
Sources: DUKES Digest of UK Energy Statistics, www.gov.uk; https://opendata.cbs.nl/statline/#/CBS/en/

## Slide 10: Utility Scale Batteries (Built Capacity)
https://www.energy-storage.news/800mwh-of-utility-scale-energy-storage-capacity-added-in-the-uk-during-2022/
2.6GW/4.3GWh under construction
2023/2024
22 GW installed capacity
2027

## Slide 11: UK Battery market – what’s been driving it?
Fuelled by a Capacity Market and generous Frequency Response Service payments
Existing Frequency Response services have been replaced with new “Dynamic” Frequency Response (DFR) tailored to batteries
The DFR market is saturating this year, leading to significantly lower capacity prices
Simultaneously, National Grid is improving their dispatch of batteries in the Balancing Mechanism (BM)
Batteries expected to provide larger share of balancing energy in the future
* Past: Median income from Modo

## Slide 12: What is Statkraft’s role in this?

## Slide 13
#1 energy management service provider
Optimising flexibility from batteries, gas engines and will do hydrogen electrolysis
1700 MW under contract
Portfolio built in under 4 years
Revenue stacking in Ancillary Services, wholesale market optimisation, capacity market and TSO/DSO support
Trade allocation to individual assets
Flexibility Optimisation

## Slide 14: Flex optimization as part of a bigger portfolio
#1 UK market leader in long term PPAs for wind, solar and biomass
4,300MW, 12.5TWh per year of renewable power
240 long term contracts up to 20 years
Long term fixes and floors to help raise customer's finance
Unity platform optimises against wholesale price and balancing market

## Slide 15: This is where the magic happens…
Image: Warner Bros.

## Slide 16: TenneT: 9 GW of Batteries in 2030 needed for grid stability
Source: https://tennet-drupal.s3.eu-central-1.amazonaws.com/default/2023-06/TenneT_s_position_large_BESS_-_Public_Info_-_update.pdf

## Slide 17: The pipeline is much bigger than 9 GW
Phase 1; information pack requested #131 in total 37.5GW
Phase 2; basic design quote requested #61 in total 18GW
Phase 3; basic design quote signed #15 in total 6.5GW
Phase 4; realisation quote requested #0 n/a
Phase 5; connection in realisation #0 n/a
Phase 6; connection in-service #0 n/a
Overview of current connection requests to TenneT grid (110, 150, 220, 380kV), numbers dated from June 7th, 2023
Source: https://tennet-drupal.s3.eu-central-1.amazonaws.com/default/2023-06/TenneT_s_position_large_BESS_-_Public_Info_-_update.pdf

## Slide 18: The endgame: Carbon neutral long term flex

## Slide 19: 5 GW of “low carbon hydrogen” by 2030
Source: UK Hydrogen Strategy by the Secretary of State for Business, Energy & Industrial Strategy 2021

## Slide 20
3-4 GW electrolysis capacity by 2030
Doubled by 2032

## Slide 21: Malte 2048

## Slide 22: Thank you!